## Connections without Common (hidden)
SolShare A |  |  |  |  | SolShare B |  |  |  |  | SolShare C
Unit | Intended Percentage of System | Phase connection on SolShare (R/W/B) | Input into SolShare Com App (% of phase) | Actual Percentage of system | Unit | Intended Percentage of System | Phase connection on SolShare (R/W/B) | Input into SolShare Com App (% of phase) | Actual Percentage of system | Unit | Intended Percentage of System | Phase connection on SolShare (R/W/B) | Input into SolShare Com App (% of phase) | Actual Percentage of system
1 | 8.17% | R1 | 26.09% | 8.698% | 5 | 7.9% | R1 | 25% | 8.333% | 9 | 6.81% | R1 | 25.24% | 8.414%
13 | 6.81% | W1 | 24.49% | 8.163% | 17 | 7.9% | W1 | 24.58% | 8.193% | 21 | 8.17% | W1 | 27.76% | 9.254%
25 | 6.81% | B1 | 21.04% | 7.013% | 29 | 8.17% | B1 | 25.24% | 8.413% | 33 | 7.08% | B1 | 21.87% | 7.291%
2 | 6.81% | R2 | 21.75% | 7.25% | 6 | 7.9% | R2 | 25% | 8.333% | 10 | 6.81% | R2 | 25.24% | 8.414%
14 | 6.55% | W2 | 23.55% | 7.851% | 18 | 8.17% | W2 | 25.42% | 8.473% | 22 | 7.9% | W2 | 26.84% | 8.948%
26 | 6.82% | B2 | 25.01% | 8.336% | 30 | 8.17% | B2 | 25.42% | 8.473% | 34 | 8.43% | B2 | 26.04% | 8.681%
3 | 8.43% | R3 | 26.92% | 8.975% | 7 | 7.9% | R3 | 25% | 8.333% | 11 | 6.55% | R3 | 24.28% | 8.092%
15 | 6.55% | W3 | 23.55% | 7.851% | 19 | 8.17% | W3 | 25.42% | 8.473% | 23 | 6.55% | W3 | 22.26% | 7.419%
27 | 6.82% | B3 | 25.01% | 8.336% | 31 | 8.17% | B3 | 25.42% | 8.473% | 35 | 8.43% | B3 | 26.04% | 8.681%
4 | 7.9% | R4 | 25.23% | 8.411% | 8 | 7.9% | R4 | 25% | 8.333% | 12 | 6.81% | R4 | 25.24% | 8.414%
16 | 7.9% | W4 | 28.41% | 9.469% | 20 | 7.9% | W4 | 24.58% | 8.193% | 24 | 6.81% | W4 | 23.14% | 7.713%
28 | 6.82% | B4 | 25.01% | 8.336% | 32 | 7.63% | B4 | 23.74% | 7.913% | 36 | 8.43% | B4 | 26.04% | 8.681%
Total R | 31.31% |  |  |  | Total R | 31.6% |  |  |  | Total R | 26.98%
Total W | 27.81% |  |  |  | Total W | 32.14% |  |  |  | Total W | 29.43%
Total B | 27.27% |  |  |  | Total B | 32.14% |  |  |  | Total B | 32.37%
Common area connection?

## Custom sharing calculator
SolShare Custom Allocation Calculator
This calculator has been designed to help Allume's solar partners understand the options around the SolShare's Custom Allocation solar sharing mode and what to enter into the SolShare Commissioning App at the time of commissioning.
All yellow cells require input from you. This calculator has been designed for projects with up to 6 SolShares
Step 1: Site details
Site address:
Number of single phase connections:
Number of 3 phase connections: |  |  | NOTE: It is highly recommended to connect the common area 3 phase meter to at least 1 SolShare onsite where possible to better allow for allocations closer to the intended allocations
Number of SolShares (press ENTER):
Solar PV - kW DC connected to each SolShare in yellow cell/s in row below:
SolShare #1 | [17 empty] | Total kW: | 0
Step 2: Enter tenancy numbers and intended allocations for each SolShare
For each SolShare, enter intended allocations as a percentage of the whole site (not just for that SolShare). Scroll to the right to see more SolShare tables. The aim is to get the lowest possible values in the Variation column (signified by green = good, yellow = OK, red = allocations may need adjusting).
SolShare #1 | [5 empty] | Leave this table blank | [5 empty] | Leave this table blank | [5 empty] | Leave this table blank | [5 empty] | Leave this table blank | [5 empty] | Leave this table blank
Tenancy Number (e.g. 2A, 21, Common area etc.) | Intended Solar Allocation (%) | Phase connection on SolShare | Input into SolShare Com App (% of phase) | Actual allocation of whole building's solar system | Variation (actual vs intended solar allocations) | Tenancy Number (e.g. 2A, 21, Common area etc.) | Intended Solar Allocation (%) | Phase connection on SolShare | Input into SolShare Com App (% of phase) | Actual allocation of whole building's solar system | Variation (actual vs intended solar allocations) | Tenancy Number (e.g. 2A, 21, Common area etc.) | Intended Solar Allocation (%) | Phase connection on SolShare | Input into SolShare Com App (% of phase) | Actual allocation of whole building's solar system | Variation (actual vs intended solar allocations) | Tenancy Number (e.g. 2A, 21, Common area etc.) | Intended Solar Allocation (%) | Phase connection on SolShare | Input into SolShare Com App (% of phase) | Actual allocation of whole building's solar system | Variation (actual vs intended solar allocations) | Tenancy Number (e.g. 2A, 21, Common area etc.) | Intended Solar Allocation (%) | Phase connection on SolShare | Input into SolShare Com App (% of phase) | Actual allocation of whole building's solar system | Variation (actual vs intended solar allocations) | Tenancy Number (e.g. 2A, 21, Common area etc.) | Intended Solar Allocation (%) | Phase connection on SolShare | Input into SolShare Com App (% of phase) | Actual allocation of whole building's solar system | Variation (actual vs intended solar allocations)
|  | L1-1 | #DIV/0! | #DIV/0! |  |  |  | L1-1 | #DIV/0! | #DIV/0! |  |  |  | L1-1 | #DIV/0! | #DIV/0! |  |  |  | L1-1 | #DIV/0! | #DIV/0! |  |  |  | L1-1 | #DIV/0! | #DIV/0! |  |  |  | L1-1 | #DIV/0! | #DIV/0!
|  | L2-1 | #DIV/0! | #DIV/0! |  |  |  | L2-1 | #DIV/0! | #DIV/0! |  |  |  | L2-1 | #DIV/0! | #DIV/0! |  |  |  | L2-1 | #DIV/0! | #DIV/0! |  |  |  | L2-1 | #DIV/0! | #DIV/0! |  |  |  | L2-1 | #DIV/0! | #DIV/0!
|  | L3-1 | #DIV/0! | #DIV/0! |  |  |  | L3-1 | #DIV/0! | #DIV/0! |  |  |  | L3-1 | #DIV/0! | #DIV/0! |  |  |  | L3-1 | #DIV/0! | #DIV/0! |  |  |  | L3-1 | #DIV/0! | #DIV/0! |  |  |  | L3-1 | #DIV/0! | #DIV/0!
|  | L1-2 | #DIV/0! | #DIV/0! |  |  |  | L1-2 | #DIV/0! | #DIV/0! |  |  |  | L1-2 | #DIV/0! | #DIV/0! |  |  |  | L1-2 | #DIV/0! | #DIV/0! |  |  |  | L1-2 | #DIV/0! | #DIV/0! |  |  |  | L1-2 | #DIV/0! | #DIV/0!
|  | L2-2 | #DIV/0! | #DIV/0! |  |  |  | L2-2 | #DIV/0! | #DIV/0! |  |  |  | L2-2 | #DIV/0! | #DIV/0! |  |  |  | L2-2 | #DIV/0! | #DIV/0! |  |  |  | L2-2 | #DIV/0! | #DIV/0! |  |  |  | L2-2 | #DIV/0! | #DIV/0!
|  | L3-2 | #DIV/0! | #DIV/0! |  |  |  | L3-2 | #DIV/0! | #DIV/0! |  |  |  | L3-2 | #DIV/0! | #DIV/0! |  |  |  | L3-2 | #DIV/0! | #DIV/0! |  |  |  | L3-2 | #DIV/0! | #DIV/0! |  |  |  | L3-2 | #DIV/0! | #DIV/0!
|  | L1-3 | #DIV/0! | #DIV/0! |  |  |  | L1-3 | #DIV/0! | #DIV/0! |  |  |  | L1-3 | #DIV/0! | #DIV/0! |  |  |  | L1-3 | #DIV/0! | #DIV/0! |  |  |  | L1-3 | #DIV/0! | #DIV/0! |  |  |  | L1-3 | #DIV/0! | #DIV/0!
|  | L2-3 | #DIV/0! | #DIV/0! |  |  |  | L2-3 | #DIV/0! | #DIV/0! |  |  |  | L2-3 | #DIV/0! | #DIV/0! |  |  |  | L2-3 | #DIV/0! | #DIV/0! |  |  |  | L2-3 | #DIV/0! | #DIV/0! |  |  |  | L2-3 | #DIV/0! | #DIV/0!
|  | L3-3 | #DIV/0! | #DIV/0! |  |  |  | L3-3 | #DIV/0! | #DIV/0! |  |  |  | L3-3 | #DIV/0! | #DIV/0! |  |  |  | L3-3 | #DIV/0! | #DIV/0! |  |  |  | L3-3 | #DIV/0! | #DIV/0! |  |  |  | L3-3 | #DIV/0! | #DIV/0!
|  | L1-4 | #DIV/0! | #DIV/0! |  |  |  | L1-4 | #DIV/0! | #DIV/0! |  |  |  | L1-4 | #DIV/0! | #DIV/0! |  |  |  | L1-4 | #DIV/0! | #DIV/0! |  |  |  | L1-4 | #DIV/0! | #DIV/0! |  |  |  | L1-4 | #DIV/0! | #DIV/0!
|  | L2-4 | #DIV/0! | #DIV/0! |  |  |  | L2-4 | #DIV/0! | #DIV/0! |  |  |  | L2-4 | #DIV/0! | #DIV/0! |  |  |  | L2-4 | #DIV/0! | #DIV/0! |  |  |  | L2-4 | #DIV/0! | #DIV/0! |  |  |  | L2-4 | #DIV/0! | #DIV/0!
|  | L3-4 | #DIV/0! | #DIV/0! |  |  |  | L3-4 | #DIV/0! | #DIV/0! |  |  |  | L3-4 | #DIV/0! | #DIV/0! |  |  |  | L3-4 | #DIV/0! | #DIV/0! |  |  |  | L3-4 | #DIV/0! | #DIV/0! |  |  |  | L3-4 | #DIV/0! | #DIV/0!
|  | L1-5 | #DIV/0! | #DIV/0! |  |  |  | L1-5 | #DIV/0! | #DIV/0! |  |  |  | L1-5 | #DIV/0! | #DIV/0! |  |  |  | L1-5 | #DIV/0! | #DIV/0! |  |  |  | L1-5 | #DIV/0! | #DIV/0! |  |  |  | L1-5 | #DIV/0! | #DIV/0!
|  | L2-5 | #DIV/0! | #DIV/0! |  |  |  | L2-5 | #DIV/0! | #DIV/0! |  |  |  | L2-5 | #DIV/0! | #DIV/0! |  |  |  | L2-5 | #DIV/0! | #DIV/0! |  |  |  | L2-5 | #DIV/0! | #DIV/0! |  |  |  | L2-5 | #DIV/0! | #DIV/0!
|  | L3-5 | #DIV/0! | #DIV/0! |  |  |  | L3-5 | #DIV/0! | #DIV/0! |  |  |  | L3-5 | #DIV/0! | #DIV/0! |  |  |  | L3-5 | #DIV/0! | #DIV/0! |  |  |  | L3-5 | #DIV/0! | #DIV/0! |  |  |  | L3-5 | #DIV/0! | #DIV/0!
TOTAL | 0% | #DIV/0! |  |  |  | TOTAL | 0% | #DIV/0! |  |  |  | TOTAL | 0% | #DIV/0! |  |  |  | TOTAL | 0% | #DIV/0! |  |  |  | TOTAL | 0% | #DIV/0! |  |  |  | TOTAL | 0% | #DIV/0!
Step 3: Check your options with these hints
If you weren't able to achieve all green values in the Variation columns (Columns F, M, etc.) then these additional hints and checks may give you more information on how to better achieve your intended solar allocations.
| Target | Result | Recommendations |  |  |  | Target | Result | Recommendations |  |  |  | Target | Result | Recommendations |  |  |  | Target | Result | Recommendations |  |  |  | Target | Result | Recommendations |  |  |  | Target | Result | Recommendations
Total solar allocation on this SolShare | #DIV/0! | 0% | #DIV/0! |  | #DIV/0! | Total solar allocation on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total solar allocation on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total solar allocation on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total solar allocation on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total solar allocation on this SolShare | #DIV/0! | 0% | #DIV/0!
Total L1 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  | #DIV/0! | Total L1 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L1 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L1 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L1 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L1 allocations on this SolShare | #DIV/0! | 0% | #DIV/0!
Total L2 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  | #DIV/0! | Total L2 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L2 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L2 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L2 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L2 allocations on this SolShare | #DIV/0! | 0% | #DIV/0!
Total L3 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  | #DIV/0! | Total L3 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L3 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L3 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L3 allocations on this SolShare | #DIV/0! | 0% | #DIV/0! |  |  | Total L3 allocations on this SolShare | #DIV/0! | 0% | #DIV/0!
Scaled L1 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  | #DIV/0! | Scaled L1 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L1 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L1 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L1 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L1 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0!
Scaled L2 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L2 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L2 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L2 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L2 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L2 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0!
Scaled L3 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L3 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L3 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L3 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L3 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0! |  |  | Scaled L3 allocation for this SolShare | 33.33% | #DIV/0! | #DIV/0!
Step 4: Read these notes and hints if you're having issues getting close to your intended allocations
- In Australia, the grid power supplied to most multi-tenant buildings is 3 phase - the 3 phases being L1 (also known as Red phase), L2 (also known as White phase), L3 (also known as Blue phase)
- The grid power connection of each tenancy is most typically connected to 1 of these phases, although sometimes it is connected to all 3 phases. Where a tenancy is 3 phase: 1, 2, or all 3 of these phases can be connected to SolShare.
- The solar connection from the SolShare for each tenancy must match that particular apartment's grid connection phase (this is a rule for all 3 phase electricity - phases should not be mixed)
- Most SolShares are connected to 3 phase inverters. 3 phase inverters simply divide their total solar power output by 3, and send 33.33% of the current total solar power output to each phase. The SolShare then takes this solar output per phase and allocates it to the apartment connections on that phase. The SolShare does not dictate how much solar it is given on each phase.
- Therefore, the total allocations for apartments on one phase on one SolShare need to equal as close to 33.33% of the total allocation for that SolShare.
- The phase allocations mean that custom allocations are flexible with SolShare, but depending on how the allocations are intended, it may not be possible to meet exact allocation requirements. Generally, allocations within ±5% are possible.
- Please note that if the intended allocations are not met sufficiently with the existing grid phase connections of each apartment, it may be possible to re-allocate grid phases of apartments, but this must always be done keeping in mind local regulations, DNSP procedures, etc.
- Three-phase tenancies or three-phase common meter connections do not need to have the same percentage allocation assigned per phase. E.g., a common area meter three-phase connection could have 2% allocated on L1 phase, 6% on L2 phase, 3.5% on L3 phase.
- Allume's Technical Partnerships team are always happy to check over allocations to provide advice on the best set-up to most closely achieve the building's intended solar allocations. Do not hesitate to contact us (either directly to your normal contact person or to sales@allumeenergy.com.au).
1
2
3
4
5
6
Note on B17: As a % of whole installation (not of this SolShare only)
Note on I17: As a % of whole installation (not of this SolShare only)
Note on P17: As a % of whole installation (not of this SolShare only)
Note on W17: As a % of whole installation (not of this SolShare only)
Note on AD17: As a % of whole installation (not of this SolShare only)
Note on AK17: As a % of whole installation (not of this SolShare only)